Table of Contents

1	Document Revision History	3

2	Purpose / Scope	3

3	References / Related Publications	3

4	Revision Histories	4

4.1	Revision:  1.2 (Production Release)	4

5	Open Document Issues	5

# Document Revision History

| Revision | Date | Author | Description |
| --- | --- | --- | --- |
| A-001 | 12/19/02 | KenK | Initial Draft for revision 1.00 |

Table 1:  Document Revision History

# Purpose / Scope

The purpose of this Software Release Document (SRD) is to provide a mechanism to record the revision history for the firmware used in the Model 5132 Analog Output Modules.  Within this document, each revision shall contain a list of:

- Known defects

- Corrected defects

- Enhancements

- Suggested enhancements for future releases

This specification is intended to be a living document.  It should be updated with all future firmware revisions, as well as with any additional information that is deemed necessary for the production and maintenance of the Model 5132 throughout its product lifecycle.  As defects and/or enhancements arise, they should be immediately added to the associated list so that they may be addressed in future releases.

For instructions on how to use any of the CTC software programs and/or the specifications of the hardware, the user should refer to the documents referenced in Section 3: References / Related Publications.

# References / Related Publications

- Hardware Release Document: 5132, Doc ID:  5132-HRD

- Data Sheet:  5100-D, Eight +/-10V Ains, Doc. ID:  5132-D-DS

- Data Sheet:  5100-E, Six +/-10 Aouts, Doc. ID:  5132-E-DS

# Revision Histories

## Revision:  1.01 (Prototype Release)

| Release Date: | 08/12/02 |
| --- | --- |
| Released By: | KenK |
| Filename: | 5132.bin |
| Checksum: | N/A |
| Memory Requirements: | FLASH: 32k bytes EERPOM: 1K bytes SRAM: 2K bytes |
| Processor(s): | Atmel: Atmega323-8AC Atmel: Atmega32L-8AC |
| 5100 System Compatibility: | 5132 Hardware Revision: 0 5100 Hardware Revision: B, C, E 5100 Firmware: 4.01.10, 4.01.11, 4.01.12, 4.01.13 |
| Release Usage: | Prototype release. |
| Reasons for new release: | Prototype release |

### Correct Defects

| Item | Date | Corrected By | Issue |
| --- | --- | --- | --- |

### Known Defects

| Item | Date | Found By | Issue |
| --- | --- | --- | --- |
|  | 08/12/02 | KenK | The DAC overheats. |

### Enhancements

| Item | Date | Implemented By | Issue |
| --- | --- | --- | --- |

Table 2:  Enhancements

### Suggested Enhancements

| Item | Date | Suggested By | Issue |
| --- | --- | --- | --- |

## Revision:  1.02 (Production Release)

| Release Date: | 01/13/03 |
| --- | --- |
| Released By: | KenK |
| Filename: | 5132.bin |
| Checksum: | N/A |
| Memory Requirements: | FLASH: 32k bytes EERPOM: 1K bytes SRAM: 2K bytes |
| Processor(s): | Atmel: Atmega323-8AC Atmel: Atmega32L-8AC |
| 5100 System Compatibility: | 5132 Hardware Revision: A 5100 Hardware Revision: B, C, E 5100 Firmware: 4.01.10, 4.01.11, 4.01.12, 4.01.13 |
| Release Usage: | Production release. |
| Reasons for new release: | The code was modified to work with the revision A hardware. |

### Correct Defects

| Item | Date | Corrected By | Issue |
| --- | --- | --- | --- |
|  | 08/12/02 | KenK | The code was modified to the code to run on revision A hardware. Revision 0 hardware utilized a DAC that overheated, therefore the module was resigned to utilize the same DAC that is used on the 5130. |

### Known Defects

| Item | Date | Found By | Issue |
| --- | --- | --- | --- |
|  | 08/12/02 | KenK | The DAC overheats. |

### Enhancements

| Item | Date | Implemented By | Issue |
| --- | --- | --- | --- |

Table 3:  Enhancements

### Suggested Enhancements

| Item | Date | Suggested By | Issue |
| --- | --- | --- | --- |

# Open Document Issues

Table 4 is a compiled list of all open issues pertaining to this document and/or to the procedures described within.

| Issue # | Description |
| --- | --- |

Table 4:  Open Issues