Table of Contents

1	Document Revision History	3

2	Purpose / Scope	3

3	References / Related Publications	3

4	Revision Histories	4

4.1	Revision:  1.2 (Production Release)	4

5	Open Document Issues	5

# Document Revision History

| Revision | Date | Author | Description |
| --- | --- | --- | --- |
| D-001 | 12/19/02 | KenK | Initial Draft for revision 1.00 |

Table 1:  Document Revision History

# Purpose / Scope

The purpose of this Software Release Document (SRD) is to provide a mechanism to record the revision history for the firmware used in the Model 5131 Analog Input Modules.  Within this document, each revision shall contain a list of:

- Known defects

- Corrected defects

- Enhancements

- Suggested enhancements for future releases

This specification is intended to be a living document.  It should be updated with all future firmware revisions, as well as with any additional information that is deemed necessary for the production and maintenance of the Model 5131 throughout its product lifecycle.  As defects and/or enhancements arise, they should be immediately added to the associated list so that they may be addressed in future releases.

For instructions on how to use any of the CTC software programs and/or the specifications of the hardware, the user should refer to the documents referenced in Section 3: References / Related Publications.

# References / Related Publications

- Hardware Release Document: 5131, Doc ID:  5131-HRD

- Data Sheet:  5100-F +/-10V Ains, Doc. ID:  5131-F-DS

- Data Sheet:  5100-G +/-20mV Ains, Doc. ID:  5131-G-DS

- Data Sheet:  5100-H 4-20mA Ains, Doc. ID:  5131-H-DS

- Data Sheet:  5100-J +/-100mV/Thermocouple Ains, Doc. ID:  5131-J-DS

# Revision Histories

## Revision:  1.2 (Production Release)

| Release Date: | 09/12/02 |
| --- | --- |
| Released By: | KenK |
| Filename: | 5131.bin |
| Checksum: | N/A |
| Memory Requirements: | FLASH: 32k bytes EERPOM: 1K bytes SRAM: 2K bytes |
| Processor(s): | Atmel: Atmega323-8AC Atmel: Atmega32L-8AC |
| 5100 System Compatibility: | 5131 Hardware Revision: 0 5100 Hardware Revision: B, C, E 5100 Firmware: 4.01.10, 4.01.11, 4.01.12, 4.01.13 |
| Release Usage: | Full production release. |
| Reasons for new release: | Initial Production Release |

### Correct Defects

| Item | Date | Corrected By | Issue |
| --- | --- | --- | --- |

### Known Defects

| Item | Date | Found By | Issue |
| --- | --- | --- | --- |

### Enhancements

| Item | Date | Implemented By | Issue |
| --- | --- | --- | --- |

Table 2:  Enhancements

### Suggested Enhancements

| Item | Date | Suggested By | Issue |
| --- | --- | --- | --- |

# Open Document Issues

Table 3 is a compiled list of all open issues pertaining to this document and/or to the procedures described within.

| Issue # | Description |
| --- | --- |

Table 3:  Open Issues